## 1- قائمة التفقد-البنوك الحيوية
قائمة التفقد التكنولوجيا الحيوية - البنوك الحيوية ISO/IEC 20387:2018 | [7 empty] | Checklist For Biotechnology — Biobanking ISO/IEC 20387:2018
المتطلبات والتعليقات: ملاحظة 1: تعليقات مختبرات الفحص: • ورقة 1: تعبئة المواصفة القياسية الدولية ISO/IEC 20387 يجب إضافة المعلومات أدناه؛ • اسم / رمز الوثيقة حيث تتم الإشارة إلى هذا المتطلب في العمود I-J . • رقم البند للفقرة من الوثيقة و رقم الصفحة للفقرة (إن أمكن) حيث تتم الإشارة إلى هذا المتطلب في العمود H-G. • ورقة 2: تحديد مجال الاعتماد. ملاحظة 2: رأي فريق التقييم: يجب على المقيم تقديم معلومات عن توافق مختبرات الفحص مع المتطلبات الواردة في العمود "A إلى F" خلال الدراسة المكتبية. | [7 empty] | Requirments & Comments: NOTE 1: For Testing Laboratories comments: • Sheet 1: Fill International Standard ISO/IEC 20387 Please add following information? • Document name/code where this clause is referenced in column I-J. • Paragraph number from document & Page number (if applicable) where this clause is referenced in column G-H. • Sheet 2: Determining the scope of accreditation. NOTE 2: For Assessor’s Comments: The Assessor must provide information on the Testing Laboratories with the requirements in column "A to F" during Document Review.
اسم المختبر/ Laboratory Name:
رقم الطلب/ Request No.
نوع الطلب/ Type of Request: |  | مبدئي / Pre- Assessment |  |  | منح / Initial |  | دوري / Surveillance |  |  | تجديد / Renewal | توسيع مجال / Scope Extension | تقليص مجال / Scope Reduction
فريق التقييم/ Assessemnt Team: | رئيس الفريق/ Team Leader:
مقيم إداري/ Management Assessor:
المقيم الفني/ Technical Assessor/s:
الخبير الفني/ Technical Expert/s:
ملاحظ/ Observer/s:
تاريخ الزيارة/ Date of Assessment:
يعبأ بواسطة فريق التقييم To Filled by Assessemnt Team | [5 empty] | يعبأ بواسطة المختبر To Filled by Laboratory |  |  | Standard ISO/IEC 17025:2017 المواصفة
رأي فريق التقييم Assessment Team opinion | [5 empty] | رقم البند للفقرة Claus No. of Paragraph & رقم الصفحة Page No. | اسم الوثيقة ورمزها (الكود) Document Name & Code |  | Requirement |  |  |  | Claus
رأي المقيم/ أشخاص تم مقابلتهم |  |  | N/A | C | NC
[9 empty] | Standard ISO/IEC 20389 : 2018 |  |  |  | -
[9 empty] | General requirements |  |  |  | 4
[9 empty] | General |  |  |  | 4.1
[9 empty] | Does the biobank address the biobanking of each type of biological material and associated data held including (processes such as collecting/procuring and/or acquiring and receiving, tagging, accessioning/logging, cataloguing/classifying, examining, preparing, preserving, storing, managing data, destroying, packaging as well as safeguarding, distributing and transporting)? and Does the biobank addresses risk and opportunities using risk assessment? |  |  |  | 4.1.1
[9 empty] | Does the biobank aware of the minimal requirements for biological material and/or associated data destined for downstream application(s) to ensure that biological material and associated data are handled in a way to enable reproducible research? |  |  |  | 4.1.2
[9 empty] | Does biobank's mission defined and available? |  |  |  | 4.1.3
[9 empty] | Does the Information relevant to biobank activities, processes and procedures documented in a comprehensible format? |  |  |  | 4.1.4
[9 empty] | Does biobank documentation includes relevant information generated from procedures pertaining to the quality management system as well as the management facilities/dedicated areas? |  |  |  | 4.1.5
[9 empty] | Does the biobank comply with relevant regional, national and international ethical principles for biological material and associated data? |  |  |  | 4.1.6
[9 empty] | Does the biobank document the identity of personnel performing activities encompassing procedures? |  |  |  | 4.1.7
[9 empty] | Does the biobank define the time period for retaining documented information and associated data relating to each biological material after its complete distribution, disposal, or destruction? |  |  |  | 4.1.8
[9 empty] | Impartiality |  |  |  | 4.2
[9 empty] | Does biobanking activities undertaken impartially? And does it structured and managed to safeguard impartiality? |  |  |  | 4.2.1
[9 empty] | Does the biobank management shall be committed to impartiality? |  |  |  | 4.2.2
[9 empty] | Does the biobank responsible for the impartiality of its biobanking and Does not allow internal and external pressure(s) to compromise impartiality? |  |  |  | 4.2.3
[9 empty] | Does the biobank identify risks to impartiality on an ongoing basis and include those arising from its activities, its relationships, and the relationships of personnel |  |  |  | 4.2.4
[9 empty] | If a risk to impartiality is identified, Does the biobank demonstrate how it eliminates or minimizes such risk? |  |  |  | 4.2.5
[9 empty] | Confidentiality |  |  |  | 4.3
[9 empty] | Does the biobank protect the confidential information and proprietary rights of providers/donors, recipients and users, particularly during storage and transmission of data? |  |  |  | 4.3.1
[9 empty] | Does the biobank responsible, through legally enforceable commitments, for managing confidential information obtained or created during biobanking? When sharing data or biological material and associated data, does the biobank inform the provider/donor, where possible, of how their privacy and confidentiality are protected? Does the biobank only release information regarding biological material and associated data according to relevant agreements and approvals (e.g., contractual agreements, legally binding documents, ethical approvals)? |  |  |  | 4.3.2
[9 empty] | When the biobank is required by law to release confidential information, Does the provider/donor notified of the information provided, unless prohibited by law? |  |  |  | 4.3.3
[9 empty] | Does All personnel have access to confidential biobank data bound by confidentiality? |  |  |  | 4.3.4
[9 empty] | Structural requirements |  |  |  | 5
[9 empty] | Does the biobank a legal entity or a defined part of a legal entity that is legally responsible for all its activities? |  |  |  | 5.1
[9 empty] | Does the biobank identify top management that has overall responsibility for the biobank? |  |  |  | 5.2
[9 empty] | Does the biobank have a governance body/advisory board guiding and advising management on scientific, technical, and/or administrative and other matters? |  |  |  | 5.3
[9 empty] | Does the biobank responsible for activities performed in its facilities/dedicated areas? |  |  |  | 5.4
[9 empty] | Does the biobank have a course of action to define and address liabilities arising from activities? |  |  |  | 5.5
[9 empty] | Does the biobank carry out its activities in a way that meets the requirements of this document, its documented agreements and/or legally binding documents, and relevant authorities and organizations providing recognition? |  |  |  | 5.6
[9 empty] | Does the biobank shall define and document the range of activities for which it conforms with this document? Does The biobank only claim conformity with this document for its defined range of activities, excluding externally provided biobank activities? |  |  |  | 5.7
[9 empty] | Does the biobank : |  |  |  | 5.8
[9 empty] | Define the governance structure, including the organization and management of the biobank, its place in any parent organization, and the relationships between management, technical operations, and support services? |  |  |  | a)
[9 empty] | Specify the responsibility, authority, and interrelationship of personnel who manage, perform, validate, or verify work affecting biobanking output. |  |  |  | b)
[9 empty] | Does the biobank have personnel who, irrespective of other responsibilities, have the authority and resources needed to carry out their duties, including: |  |  |  | 5.9
[9 empty] | implementation, maintenance, monitoring, and improvement of the quality management system? |  |  |  | a)
[9 empty] | identification of deviations from the quality management system or from the procedures for performing biobanking? |  |  |  | b)
[9 empty] | assessment of the impact of deviations, and development and implementation of appropriate actions? |  |  |  | c)
[9 empty] | Reporting to biobank management on the performance of the quality management system and any need for improvement? |  |  |  | d)
[9 empty] | Does the biobank management ensure that: |  |  |  | 5.1
[9 empty] | Changes to the quality management system are monitored and controlled? |  |  |  | a)
[9 empty] | Communication takes place with interested parties, including personnel, regarding the performance indicators of the quality management system and any need for improvement? |  |  |  | b)
[9 empty] | The importance of meeting the requirements of the recipient(s)/user(s), as well as other applicable requirements (including those described in this document), is communicated to and understood by relevant biobank personnel? |  |  |  | c)
[9 empty] | Resource requirements |  |  |  | 6
[9 empty] | General |  |  |  | 6.1
[9 empty] | Does the biobank have the personnel, facilities/dedicated areas, equipment, information system(s), and support services necessary to perform biobanking? |  |  |  | 6.1.1
[9 empty] | Does The biobank have a documented strategy to enable continued financial viability for its activities? This strategy shall be reviewed periodically |  |  |  | 6.1.2
[9 empty] | Personnel |  |  |  | 6.2
[9 empty] | General |  |  |  | 6.2.1
[9 empty] | Does biobank personnel, either internal or external, who can impact biobank activities act impartially (see 4.2)? |  |  |  | 6.2.1.1
[9 empty] | Does all personnel having access to the biobank’s confidential data be bound to confidentiality (see 4.3.4)? |  |  |  | 6.2.1.2
[9 empty] | Does the biobank have documented procedures for personnel management and maintain documented information to indicate compliance with relevant requirements? |  |  |  | 6.2.1.3
[9 empty] | Does The biobank communicate its duties, responsibilities, and authorities to all personnel as detailed in job descriptions? |  |  |  | 6.2.1.4
[9 empty] | Does the biobank or the legal entity of which it is a part ensure that health and safety requirements are established, documented, implemented, and maintained? Does the level of safety training required be determined using a comprehensive risk assessment of the biological and chemical materials, processes, and equipment being handled? |  |  |  | 6.2.1.5
[9 empty] | Competence and competence assessment |  |  |  | 6.2.2
[9 empty] | Does the biobank define and document the competence required for personnel involved in biobank activities? |  |  |  | 6.2.2.1
[9 empty] | Does the biobank ensure that all its personnel are competent based on appropriate education, training, demonstrated skills, and/or experience necessary to perform assigned duties and activities? |  |  |  | 6.2.2.2
[9 empty] | Does the biobank or the legal entity maintain documented information for personnel that provides evidence of all appropriate professional competence and education/training (see 6.2.3)? |  |  |  | 6.2.2.3
[9 empty] | Does the personnel appointed to perform processes be subject to competence assessment according to the biobank's established criteria? |  |  |  | 6.2.2.4
[9 empty] | Does Personnel receive appropriate and relevant assessment regularly to determine what is required to acquire and retain their necessary competence? |  |  |  | 6.2.2.5
[9 empty] | Training |  |  |  | 6.2.3
[9 empty] | Does Each personnel receive appropriate and relevant re-/training (internal and/or external training) with regular updates to acquire and retain the necessary competence? The training shall be documented. |  |  |  | 6.2.3.1
[9 empty] | Does personnel undergoing training be supervised until the biobank confirms that the personnel is competent to perform assigned tasks? |  |  |  | 6.2.3.2
[9 empty] | Does the biobank have an introduction policy for the integration of new personnel that will be implemented? Does new personnel provided with an appropriate orientation to the biobank |  |  |  | 6.2.3.3
[9 empty] | Facilities and environmental conditions |  |  |  | 6.3
[9 empty] | Does the requirements for facilities/dedicated areas and the environmental conditions necessary for biobanking be documented? |  |  |  | 6.3.1
[9 empty] | Does The biobank or the legal entity it is a part of determine, control, and maintain the facilities/dedicated areas to provide the conditions required for conformity with defined quality control (QC) criteria? This includes procedures to maintain fitness for the intended purpose, biosafety, and biosecurity of biological material and associated data. |  |  |  | 6.3.2
[9 empty] | Where necessary, Does the biobank effectively separate areas that host incompatible activities? Does measures carry out to avoid cross-contamination? |  |  |  | 6.3.3
[9 empty] | Does facilities and dedicated areas suitable for biobanking and do not affect the intended purpose? |  |  |  | 6.3.4
[9 empty] | Does the biobank measure, monitor, control, and record environmental conditions in the biobanking facilities/dedicated areas, as required, or where they influence the quality of the biological material and associated data and the health and safety of personnel? |  |  |  | 6.3.5
[9 empty] | Does the biobank address future expansion of its capacity to allow further addition, subdivision, and/or processing of biological material? |  |  |  | 6.3.6
[9 empty] | Does the biobank have a contingency plan to maintain the required environmental conditions in the biobank facilities/dedicated areas according to the risk? |  |  |  | 6.3.7
[9 empty] | Externally provided processes, products and services |  |  |  | 6.4
[9 empty] | Does The biobank: |  |  |  | 6.4.1.1
[9 empty] | Determine requirements for externally provided critical processes, products, and services? |  |  |  | a)
[9 empty] | Document and communicate these requirements to the external provider? |  |  |  | b)
[9 empty] | Retain relevant information about such communication? |  |  |  | c)
[9 empty] | Ensure the externally provided processes, products, and services meet biobank requirements. Nonconformities shall be communicated to the external provider? |  |  |  | d)
[9 empty] | Does The biobank determine and apply criteria for evaluating, selecting, monitoring, and re-evaluating the performance of external providers based on their ability to provide processes or products and services in accordance with requirements? Does The biobank shall retain documented information on these activities and any necessary actions arising from the evaluations? |  |  |  | 6.4.1.2
[9 empty] | Does the biobank determine which externally provided processes or parts should be communicated to the provider/recipient/user? |  |  |  | 6.4.1.3
[9 empty] | Does The biobank ensure that externally provided processes, products, and services do not adversely affect the biobank’s ability to preserve and supply authenticated biological material and associated data consistently? Does The biobank determine and assess the risks associated with externally provided processes, products, and services? Measures should be taken to avoid adverse effects on the conformity of the preservation and authentication of biological material when necessary. |  |  |  | 6.4.1.4
[9 empty] | Does the biobank determine the verification or other activities necessary to ensure that the externally provided processes, products, and services meet the biobank's requirements? |  |  |  | 6.4.1.5
[9 empty] | When the biobank decides to use externally provided preservation, storing, and/or authentication activities, Does ensures that: |  |  |  | 6.4.1.6
[9 empty] | All processes need to be validated according to provisions? |  |  |  | a)
[9 empty] | Internal audits of these processes are planned by the external provider and performed regularly using a risk-based approach (see also ISO 19011)? |  |  |  | b)
[9 empty] | Relevant documented information related to these activities is retained. |  |  |  | c)
[9 empty] | Equipment |  |  |  | 6.5
[9 empty] | Does the biobank be furnished with or have controlled access to all equipment required for the performance of biobanking? |  |  |  | 6.5.1
[9 empty] | Does the biobank establish, document, and implement procedures for controlled implementation, safe handling, transport, storage, and planned maintenance of all equipment, including procedures for calibration, where necessary? |  |  |  | 6.5.2
[9 empty] | Does the biobank have instructions on how to use and operate all relevant equipment? |  |  |  | 6.5.3
[9 empty] | Does the biobank categorize equipment (including backup equipment) with the potential to impact the quality of the biological material and associated data to identify equipment critical for biobanking (e.g., using a risk-based approach)? |  |  |  | 6.5.4
[9 empty] | Does the biobank establish and maintain a register listing equipment defined under 6.5.1 and 6.5.2, including information for categorization, performance, maintenance, verification, and, if applicable, validation of each item? |  |  |  | 6.5.5
[9 empty] | Does the biobank verify, upon installation and before use, that the equipment can achieve the necessary performance and comply with relevant requirements? |  |  |  | 6.5.6
[9 empty] | Does the biobank verify, upon installation and before use, that the equipment can achieve the necessary performance and comply with relevant requirements? |  |  |  | 6.5.7
[9 empty] | Does the biobank retain documented information for critical equipment, which shall include at least the following: |  |  |  | 6.5.8
[9 empty] | Equipment and software identity? |  |  |  | a)
[9 empty] | the manufacturer’s name, type identification, and serial number or other unique identification? |  |  |  | b)
[9 empty] | Checks that equipment complies with specifications? |  |  |  | c)
[9 empty] | The current location, where appropriate? |  |  |  | d)
[9 empty] | The manufacturer’s instructions, if available, or reference to their location? |  |  |  | e)
[9 empty] | Results, reports, and certificates of calibrations, adjustments, acceptance criteria, and associated date(s) [documented in a standard format preferably according to ISO 8601 (see Note to 7.1.3)]? |  |  |  | f)
[9 empty] | The due date of next calibration [documented in a standard format preferably according to ISO 8601 (see Note to 7.1.3)]? |  |  |  | g)
[9 empty] | The maintenance plan, where appropriate, and maintenance carried out to date? |  |  |  | h)
[9 empty] | Any damage, malfunction, modification, or repair to the equipment. |  |  |  | i)
[9 empty] | Does critical equipment and its software be safeguarded from adjustments that invalidate the process output? |  |  |  | 6.5.9
[9 empty] | Where applicable, Does the biobank establish and maintain metrological traceability of its measurement results using a documented, unbroken chain of calibrations or comparisons, linking them to an appropriate reference? |  |  |  | 6.5.10
[9 empty] | Does Equipment be taken out of service if: a) it is subject to overloading or mishandling? b) it generates potentially compromised process output/results? c) it is defective or outside specification limits. It shall be isolated to prevent the use or clearly labeled or marked as being out of service until repaired and shown by calibration or test to perform correctly. |  |  |  | 6.5.11
[9 empty] | Does Biobank examine the effect of defects or departure from specifications? |  |  |  | 6.5.12
[9 empty] | Process requirements |  |  |  | 7
[9 empty] | General |  |  |  | 7.1
[9 empty] | Does The life cycle stages of the biological material and associated data in the biobank shall be identified, and appropriate processes shall be defined and verified?. Does a workflow describe these stages followed by detailed procedures (see 4.1.1) for each relevant process (e.g., collection, accession, acquisition, identification, preservation, long-term storage, quality control, transport, disposal)? All procedures shall be documented, implemented, and specific to the biological material and associated data. Does all critical activities of procedures be identified and documented (see also 7.8.2.7)? |  |  |  | 7.1.1
[9 empty] | Does all procedures and processes be kept up to date and made readily available to personnel? |  |  |  | 7.1.2
[9 empty] | Does the date of critical life cycle stages be documented in a standard format for all biological materials? Does the critical time of life cycle stages (e.g., preparation start time or duration, freezing time) be documented in a standard format? Does the date and time documentation be formatted according to ISO 8601? |  |  |  | 7.1.3
[9 empty] | Collection of biological material and associated data |  |  |  | 7.2
[9 empty] | Documented information requirements |  |  |  | 7.2.1
[9 empty] | When Does the biobank responsible for collecting biological material? Does it define and document information related to the collection of biological material? This should include the date, place, and procedure of collection, as well as any other information relevant to accomplishing the biobank's objectives (e.g., taxonomic information). It should also include the time of the collection of the biological material. The date and time documentation should be formatted according to ISO 8601 (see Note to 7.1.3). |  |  |  | 7.2.1.1
[9 empty] | When Does the biobank acquire biological material (i.e., when it is not responsible for collection)? Does it define required/recommended information and retain appropriate documented information related to the collection procedure? |  |  |  | 7.2.1.2
[9 empty] | Documented information requirements |  |  |  | 7.2.2
[9 empty] | Whenever possible, Does the biobank document and/or retain information related to stages before the reception of the biological material that can affect the properties of the biological material to allow the assessment of its fitness for the intended purpose? Further details and requirements are included in Annex A. Annex B gives additional information. |  |  |  | 7.2.2.1
[9 empty] | Collection procedure |  |  |  | 7.2.3
[9 empty] | Does the collection procedure be defined by the biobank and/or the recipient/user, according to the intended use of the biological material, proven techniques, or relevant standards? |  |  |  | 7.2.3.1
[9 empty] | Does pre-analytical workflows, according to existing ISO documents, be implemented? (e.g., ISO 20166-1, ISO 20166-2 and ISO 20166-3, ISO 20184-1 and ISO 20184-2, ISO 20186-1, ISO 20186-2 and ISO 20186-3, ISO/TS 20658). |  |  |  | 7.2.3.2
[9 empty] | Does qualified and authorized personnel, and/or recipient(s)/user(s) as applicable, collect the biological material according to defined procedures? Does biological material requiring clinical assessment and/or diagnosis also suitable for biobanking? Competent personnel (e.g., specifically trained, experienced, board-certified, or qualified personnel) shall perform the preparation, dissection (where appropriate), evaluation of the gross pathology, and collection. Does collecting biological material and/or data for research never adversely affect patient care and diagnosis or donor wellbeing? |  |  |  | 7.2.3.3
[9 empty] | Does The collection of human biological material be performed by relevant ethical requirements (e.g., relevant ethical approvals or waiver of consent of the patient/donor, etc.)? |  |  |  | 7.2.3.4
[9 empty] | Reception and distribution of biological material and associated data |  |  |  | 7.3
[9 empty] | Access principles |  |  |  | 7.3.1
[9 empty] | Does The principles governing access to and distribution of biological material and associated data be defined, documented, and, where relevant, published? Does the biobank ensure that the documented requirements established by interested parties comply with these principles? |  |  |  | 7.3.1.1
[9 empty] | Reception |  |  |  | 7.3.2
[9 empty] | Does the biobank establish, document, and implement procedures for receiving or acquiring biological material and associated data (e.g., internal transfers or external shipments/transfers).? |  |  |  | 7.3.2.1
[9 empty] | Does the biobank define the acceptance criteria for biological material and associated data, including biosafety, biosecurity, and intellectual property rights? Does the identification of the biological material and related data verified upon acquisition/reception according to the defined acceptance criteria? |  |  |  | 7.3.2.2
[9 empty] | When appropriate and applicable (e.g. (for cell lines and microorganisms), Does the biobank authenticate the biological material according to relevant and available International Standards or guidelines? |  |  |  | 7.3.2.3
[9 empty] | Does Biological material and associated data received or acquired by a biobank, whether individual, part of, or an entire collection, be segregated (see 7.7.5) to prevent final storage until legal, ethical, documentation, and quality compliance of the biological material and associated data has been assessed and managed? |  |  |  | 7.3.2.4
[9 empty] | Does The biobank obtain relevant documented information, particularly the information needed to assess the fitness for the intended purpose associated with the received or acquired biological material? |  |  |  | 7.3.2.5
[9 empty] | Where the biobank has not been responsible for collecting sampling, Does it documented? |  |  |  | 7.3.2.6
[9 empty] | Sampling |  |  |  | 7.3
[9 empty] | Does the distribution and any exchange of biological material and associated data take place by the biobank’s access principles (see 7.3.1.1), reporting specifications (see 7.12), and in compliance with other relevant requirements [e.g., material transfer agreement (MTA), data transfer agreement (DTA)]? |  |  |  | 7.3.3.1
[9 empty] | Does the biobank ensure that a documented agreement or legally binding document (e.g., contract, written and signed commitment, binding online acceptance of terms and conditions) outlining the conditions governing the provision and use of biological material and/or associated data is used when providing biological material and associated data to a recipient/user outside the biobank? Any changes to such a document shall be documented. |  |  |  | 7.3.3.2
[9 empty] | Does the biobank establish, document, and implement procedures for preparing and distributing biological material and/or associated data to fulfill the conditions of the documented agreement or legally binding document according to 7.3.3.2.? |  |  |  | 7.3.3.3
[9 empty] | When distributing biological material and/or associated data to a recipient/user, Does predefined information according to 7.12 also need to be provided? Unless the biobank has valid reasons for not doing so, such as data protection compliance |  |  |  | 7.3.3.4
[9 empty] | Transport of biological material and associated data |  |  |  | 7.4
[9 empty] | Does the biobank establish, document, and implement procedures for shipping and receiving biological material, including appropriate conditions for maintaining biological material integrity by Annex A? Examples are given in Annex B. |  |  |  | 7.4.1
[9 empty] | Does the biobank maintain critical chain of custody records for all biological material from the point of dispatch to the end of receipt? Whenever shipping can alter the quality of the biological material (or if deemed necessary), it shall be tracked and monitored for those elements pertinent to biological material integrity, e.g., timelines/duration(s), temperature, humidity, and light as appropriate to the biological material. Does the chain of custody records detail any deviations from specified parameters according to 7.11? |  |  |  | 7.4.2
[9 empty] | Does the biobank have safe handling, packaging, transport, and reception procedures relevant to the biological material concerned? |  |  |  | 7.4.3
[9 empty] | Does biological material not need to be left unattended within the biobank or legal entity it is part of unless in designated custody zones as indicated by relevant procedures? |  |  |  | 7.4.4
[9 empty] | Does only competent personnel prepare biological material for shipment? |  |  |  | 7.4.5
[9 empty] | Does 7.3.3.2 require that the requirements of 7.3.3.2 be fulfilled and arrangements made for biological material distribution and reception with relevant parties prior to the transfer of biological material? |  |  |  | 7.4.6
[9 empty] | Does the biobank establish, document, and implement procedures for shipping and receiving data? Is the transfer of data designed to ensure integrity and prevent a breach of data privacy? Does arrangements be made for data reception and/or distribution with relevant parties before the transfer of data? |  |  |  | 7.4.7
[9 empty] | Traceability of biological material and associated data |  |  |  | 7.5
[9 empty] | Does The biobank shall ensure traceability of biological material and associated data from the collection (where relevant), acquisition, or reception to distribution, disposal, or destruction, as follows: |  |  |  | 7.5.1
[9 empty] | Does Biological material be appropriately tagged so that identification is maintained throughout the life cycle under the custody of the biobank? Does special attention focused on persistent tagging [e.g., use of externally applied or integrated options including printed labels, barcodes, two dimensions (2D) codes, radio frequency identification systems (RFID), microelectromechanical systems (MEMS)] of biological material through the use of unique identifiers?. Does The biobank have a documented tagging procedure that complies with environmental requirements, including relevant storage conditions? |  |  |  | a)
[9 empty] | Does Each biological material and associated data be linked to the documented information with details of permissions or restrictions related to its use? |  |  |  | b)
[9 empty] | Does an inventory or tracking system allow for the annotation and query of relevant information associated with any handling procedure, including collection, packaging, transportation, preparation, preservation, storing, and distribution procedures? Does this system allow for flagging any deviation in biobanking procedure(s)? |  |  |  | c)
[9 empty] | Does A link between biological material and associated data be established and maintained for unambiguous traceability? |  |  |  | d)
[9 empty] | Does it be possible to identify the location of any biological material and associated data at all times? |  |  |  | e)
[9 empty] | Does it possible to identify biological material and associated data that have already been distributed to a recipient/user or already disposed of? |  |  |  | f)
[9 empty] | Does the information be accessible by personnel to allow querying of the data as needed, e.g., upon receiving complaints or inquiries regarding distributed biological material? |  |  |  | 7.5.2
[9 empty] | Does the biobank establish, document, and implement procedures for the disposal and transfer of biological material and/or data, both as a planned event and as a result of an emergency (see 7.1.1)? |  |  |  | 7.5.3
[9 empty] | Preparation and preservation of biological material |  |  |  | 7.6
[9 empty] | Does the method(s) of preparation and/or preservation be defined according to an evidence-based documented processing method (e.g., an International Standard) or as specified in agreement with the provider/recipient/user? |  |  |  | 7.6.1
[9 empty] | Does critical activities of the preparation and/or preservation procedure (see A.4) monitored and the relevant parameters documented? Does Each preservation step be individually documented? |  |  |  | 7.6.2
[9 empty] | Does the date of each preparation and/or preservation step shall be documented in a standard format for all biological material? Does the time of each related step be documented in a standard format? Does the date and time documentation be formatted according to ISO 8601 (see Note to 7.1.3)? |  |  |  | 7.6.3
[9 empty] | Storage of biological material |  |  |  | 7.7
[9 empty] | Does The biobank or the legal entity it is a part of establish a disaster protection plan using alternative safeguarding methods to avoid loss of biological material? |  |  |  | 7.7.1
[9 empty] | Does The biobank have documented procedures in place for the storage and tracking of biological material, including at least the: |  |  |  | 7.7.2
[9 empty] | the tagging information containing at least the unique identifier of the biological material? |  |  |  | a)
[9 empty] | the type of container and environmental conditions for the biological material storage? |  |  |  | b)
[9 empty] | mechanism(s) for traceability (see 7.5)? |  |  |  | c)
[9 empty] | a short-term back-up plan for maintaining accurate storage conditions/temperatures in the case of emergency challenges in maintaining defined storage conditions. |  |  |  | d)
[9 empty] | During the execution of critical activities performed during storage, Does relevant processing parameters be measured, monitored, and documented? Does the date (see Note to 7.1.3) and, where necessary, the time(s) of critical activities during storage and personnel (see 4.1.7) accessing the biological material be documented for each biological material? Does the date and time documentation be formatted according to ISO 8601 (see Note to 7.1.3)? |  |  |  | 7.7.3
[9 empty] | Does the biobank document and verify the storage location of all biological material and associated data? Does the traceability of each biological material and storage transaction always be ensured? |  |  |  | 7.7.4
[9 empty] | Does the storage locations and processes be designed to minimize the risk of contamination and ensure the maintenance of inherent biological material integrity? |  |  |  | 7.7.5
[9 empty] | Does biobank storage conditions comply with facility requirements and environmental conditions (6.3)? |  |  |  | 7.7.6
[9 empty] | Does the biobank verify the biological material inventory at planned intervals using a defined procedure? |  |  |  | 7.7.7
[9 empty] | When applicable, Does the biobank establish, document, and implement procedures supporting the patient/donor's right to withdraw consent for storing and using biological material and associated data? |  |  |  | 7.7.8
[9 empty] | Quality control of biological material and associated data |  |  |  | 7.8
[9 empty] | General |  |  |  | 7.8.1
[9 empty] | Does critical activity impact the quality of the biological material and associated data, and are they identified by the biobank, provider, recipient, or user? Does the biobank establish, document, and implement quality control (QC) procedures related to such activities? |  |  |  | 7.8.1.1
[9 empty] | Does the biobank provide biological material and associated data fit for purpose? Does it define a minimum set of QC procedures to be performed on the biological material and associated data or a subset of it? Exceptions can be justified for rare or legacy biological material and associated data and QC procedures that lead to biological material elimination. |  |  |  | 7.8.1.2
[9 empty] | Does The QC procedures : |  |  |  | 7.8.1.3
[9 empty] | be defined according to proven techniques and fitness for the intended purpose? |  |  |  | a)
[9 empty] | be regularly updated? |  |  |  | b)
[9 empty] | ensure that provider/recipient/user requirements are met where possible. |  |  |  | c)
[9 empty] | Quality control of processes |  |  |  | 7.8.2
[9 empty] | Does the biobank establish, document, and implement procedures specifying QC activities throughout the biobanking processes, including QC criteria corresponding to predefined specifications, to demonstrate fitness for the intended purpose of the biological material and associated data? |  |  |  | 7.8.2.1
[9 empty] | Does the QC activities be performed according to planned intervals? Does The biobank retain documented information on QC activities and results? |  |  |  | 7.8.2.2
[9 empty] | Does QC data be analyzed? If predefined criteria are not met, should actions be taken to control the reporting of invalid data and/or distribution of non-compliant biological material and associated data? |  |  |  | 7.8.2.3
[9 empty] | Does the biobank ensure that identified limitations are documented and communicated to the recipient/user? During the biological material and associated data distribution process, it is the recipient/user's responsibility to decide whether to accept biological material and related data with documented and communicated limitations. |  |  |  | 7.8.2.4
[9 empty] | Does The biobank ensure that information on QC results is provided to the recipient/users as specified by documented requirements? |  |  |  | 7.8.2.5
[9 empty] | Does QC results be periodically analysed for trends and used as input for the continuous improvement process.? |  |  |  | 7.8.2.6
[9 empty] | Does The biobank document all process-related data by Annex A? |  |  |  | 7.8.2.7
[9 empty] | As part of the QC system, Does the biobank should have appropriate QC materials (e.g., internal control material)? Does QC materials employed by the biobank be periodically examined to assess essential quality characteristics of the biological material, including stability, the performance of the processing methods, and the accuracy/precision of the QC procedures? |  |  |  | 7.8.2.8
[9 empty] | Does the biobank use approaches to provide objective evidence to demonstrate the comparability of biological material quality (the processing or testing output), and where are such methods available and appropriate? Such methods include external quality assessment (EQA) programs, proficiency testing programs, and interlaboratory comparisons, or the biobank may develop its approaches, including the use of: |  |  |  | 7.8.2.9
[9 empty] | certified reference materials, where available, produced by a reference material producer fulfilling the requirements of ISO 17034? |  |  |  | a)
[9 empty] | samples previously examined? |  |  |  | b)
[9 empty] | samples previously shared with other biobanks? |  |  |  | c)
[9 empty] | control materials that are tested regularly in EQA programs. |  |  |  | d)
[9 empty] | If the biobank participates in (an) interlaboratory comparison program(s), Does the biobank monitor relevant results of the interlaboratory comparison program(s) and perform and document corrective actions when predetermined performance criteria are not fulfilled? |  |  |  | 7.8.2.10
[9 empty] | Quality control of data |  |  |  | 7.8.3
[9 empty] | Does the biobank identify the critical data and establish, document, and implement QC procedures that apply at least to these critical data? |  |  |  | 7.8.3.1
[9 empty] | Does the biobank define the type and frequency of the QC performed? QC shall focus on the accuracy, completeness, and consistency of data. |  |  |  | 7.8.3.2
[9 empty] | Validation and verification of methods |  |  |  | 7.9
[9 empty] | general |  |  |  | 7.9.1
[9 empty] | Does the biobank use validated and/or verified methods for critical activities according to 7.9.2 and 7.9.3 at all stages of the biological material life cycle? |  |  |  | 7.9.1.1
[9 empty] | Validation |  |  |  | 7.9.2
[9 empty] | When Does the biobank provides/applies methods for critical activities, it ensures that these methods have been validated to ensure fitness for the intended purpose? When Does the biobank performs the validation, it documents and retains for a defined period the results obtained, the procedure used for the validation, and a statement as to whether the method is fit for purpose? |  |  |  | 7.9.2.1
[9 empty] | Does the validation be as extensive as is necessary and confirm, through the provision of objective evidence (in the form of performance characteristics), that the specific requirements for the intended use have been fulfilled? |  |  |  | 7.9.2.2
[9 empty] | When Does changes are made to a validated method, the impact of such changes is documented, and when appropriate, a new validation is carried out? |  |  |  | 7.9.2.3
[9 empty] | Verification |  |  |  | 7.9.3
[9 empty] | Does validated methods used without modification subject to verification by the biobank before being used? |  |  |  | 7.9.3.1
[9 empty] | Does The verification by the biobank confirm, through obtaining objective evidence (in the form of performance characteristics), that the set criteria for the method have been met? |  |  |  | 7.9.3.2
[9 empty] | Does The biobank document the procedure used for the verification and the results obtained? |  |  |  | 7.9.3.3
[9 empty] | Management of information and data |  |  |  | 7.1
[9 empty] | Does the biobank define the required information and data related to biological material and have a system in place for tracking? Does the biobank make reasonable efforts to support the interoperability of such information and data? |  |  |  | 7.10.1
[9 empty] | Does The biobank address future expansion of its capacity to allow further addition and/or processing of data associated with biological material? |  |  |  | 7.10.2
[9 empty] | Does a procedure for implementation, modification, and use of computer system software, hardware, and database(s) in place when used for biobanking? Does The procedure at least include data integrity, security controls, and a backup system to prevent loss or corruption of data? |  |  |  | 7.10.3
[9 empty] | Does The biobank have access to the data and information needed to provide a service specified by contractual agreements? |  |  |  | 7.10.4
[9 empty] | Does The biobank provide interested parties access to a catalog of available biological material and associated data? |  |  |  | 7.10.5
[9 empty] | Does The biobank retain access to the appropriate data associated with the biological material, as necessary for research purposes and/or in compliance with applicable requirements and 7.3.3.2? |  |  |  | 7.10.6
[9 empty] | Nonconforming output |  |  |  | 7.11
[9 empty] | General |  |  |  | 7.11.1
[9 empty] | Does The biobank establish, document, and implement procedures for managing output that do not conform to the predefined requirements of the biobank and/or the agreement with the recipient/user (see also 7.3.3.2) and/or the agreement with the provider? |  |  |  | 7.11.1.1
[9 empty] | Does The biobank ensure that output that Does not conform to predefined requirements is identified and controlled to prevent unintended use or supply? |  |  |  | 7.11.1.2
[9 empty] | Does the biobank implement appropriate procedures to disclose information about nonconforming output to relevant parties and, where applicable, enable the recipient/user to determine its fitness for the intended purpose? |  |  |  | 7.11.1.3
[9 empty] | Does the biobank take appropriate corrective action (see 8.7) based on the nature of the nonconforming output and its effect on the fitness for the intended purpose or use of the output? Does this also apply to nonconforming output detected after the supply of the biological material and associated data? |  |  |  | 7.11.1.4
[9 empty] | Does procedures for nonconforming output address: a) responsibilities and authorities for the management of nonconforming output? b) evaluation of the significance of nonconforming output, including the effect on further use of the output? c) decision on the acceptability, segregation, containment, return, suspension of provision, or recall of nonconforming output? d) persistence of nonconforming output, when 1) remedy of the nonconformity is impossible? 2) remedy of the nonconformity is considered impractical? or 3) the output can have an impact on the results produced by third parties? e) communication of nonconforming output and the authorization for acceptance by the recipient/user. |  |  |  | 7.11.1.5
[9 empty] | Does the procedures for nonconforming output also apply to biological material and associated data collected or acquired before the first adoption of this document? |  |  |  | 7.11.1.6
[9 empty] | Control of nonconforming output |  |  |  | 7.11.2
[9 empty] | Does the biobank mitigate the impacts of nonconformity, implement corrective actions in proportion to the risk(s) presented by nonconforming output, and prevent recurrence? Does remedial actions appropriate to the effects taken within defined limits and controlled when nonconforming output is corrected (see also 8.7)? |  |  |  | 7.11.2.1
[9 empty] | Does Biobank retain documents regarding non-conformance? See 8.7.3 |  |  |  | 7.11.2.2
[9 empty] | Does the Decision(s) on recall need to be taken in a timely manner to limit the use of nonconforming output? |  |  |  | 7.11.2.3
[9 empty] | Report requirements |  |  |  | 7.12
[9 empty] | General |  |  |  | 7.12.1
[9 empty] | Does The biobank provide a report at least as specified in 7.12.2? This shall include the required information as agreed upon in the documented agreement or other legally binding document with the recipient/user (see 7.3.3.2)? |  |  |  | 7.12.1.1
[9 empty] | A report according to 7.12.2 may be issued as hard copy or by electronic data transfer or by an electronic data entry in an accessible database. |  |  |  | 7.12.1.2
[9 empty] | Does The biobank should include a statement specifying that the report is reproduced except in full? |  |  |  | 7.12.1.3
[9 empty] | Content of the report |  |  |  | 7.12.2
[9 empty] | Does Each report include at least the following, unless the biobank has documented valid reasons for not doing so: |  |  |  | 7.12.2.1
[9 empty] | a title (e.g. “Quality report” or “Material certificate”)? |  |  |  | a)
[9 empty] | the name and address of the biobank, and the location where activities referred to in the report were carried out, if different from the address of the biobank? |  |  |  | b)
[9 empty] | the date of issue of the report in a standard format according to ISO 8601 (see Note to 7.1.3)? |  |  |  | c)
[9 empty] | unique identification of the report (such as a serial number), with an identification on each page to ensure that the page is recognized as a part of the report, and a clear identification of the end of the report? |  |  |  | d)
[9 empty] | biological material identification or specific properties? |  |  |  | e)
[9 empty] | relevant quality information of the biological material and associated data? |  |  |  | f)
[9 empty] | method(s) used for identification or characterization of the biological material? |  |  |  | g
[9 empty] | testing results with, where appropriate, the units of measurement? |  |  |  | h
[9 empty] | method(s) used for testing? |  |  |  | i)
[9 empty] | method(s) used for collection/acquisition, preparation and/or preservation, as applicable? |  |  |  | j
[9 empty] | storage conditions? |  |  |  | k
[9 empty] | the name(s), function(s) of person(s) authorizing the report. |  |  |  | l
[9 empty] | Does the biobank have to be responsible for all the information provided in the report, except when information is provided by the provider/recipient/user? Where the biobank has not been responsible for collection or sampling, the report states that it relates to the biological material as received by the biobank. |  |  |  | 7.12.2.2
[9 empty] | Complaints |  |  |  | 7.13
[9 empty] | Does the biobank establish, document, and implement procedures for receiving, evaluating, and making decisions about complaints? |  |  |  | 7.13.1
[9 empty] | Does a description of the handling process for complaints be made available upon request? Upon receipt of a complaint, the biobank shall confirm whether the submitted complaint relates to activities for which it is responsible and, if so, shall address it. Does the biobank be accountable for handling all levels of complaints? |  |  |  | 7.13.2
[9 empty] | Does The process for handling complaints include at least the following elements and methods: a) description of the process for receiving, accepting, investigating the complaint, and deciding what actions are to be taken in response to it? b) tracking and recording complaints, including actions undertaken to resolve them? c) ensuring that any appropriate action is taken. |  |  |  | 7.13.3
[9 empty] | Does the biobank receiving the complaint have to gather and verify all necessary information to accept the complaint? Does the biobank have to acknowledge receipt of the complaint? |  |  |  | 7.13.4
[9 empty] | Does the biobank provide the complainant with a progress report whenever possible? |  |  |  | 7.13.5
[9 empty] | Does an Impartial review be performed for each complaint? Does the outcome of this review be communicated to relevant parties? |  |  |  | 7.13.6
[9 empty] | Whenever possible, Does the biobank give formal notice of the end of the complaint handling to the complainant? |  |  |  | 7.13.7
[9 empty] | Quality management system requirements |  |  |  | 8
[9 empty] | Options |  |  |  | 8.1
[9 empty] | Does the biobank establish, document, implement, and maintain a quality management system capable of supporting and demonstrating the consistent achievement of the requirements of this document and assuring the quality of biobanking? In addition to meeting the requirements of Clauses 4 to 7, Does the biobank implement a quality management system in accordance with option A or option B? |  |  |  | 8.1.1
[9 empty] | Option A: As a minimum Does, the quality management system of the biobank addresses the following: a) documented information for the quality management system (see 8.2)? b) control of quality management system documents (see 8.3)? c) control of records (see 8.4)? d) actions to address risks and opportunities (see 8.5)? e) improvement (see 8.6))? d) corrective action for nonconforming outputs (see 8.7))? f) internal audits (see 8.8)? g) quality management reviews (see 8.9)? |  |  |  | 8.1.2
[9 empty] | Option B: A biobank that has established and maintains a quality management system, in accordance with the requirements of ISO 9001, and that is capable of supporting and demonstrating the consistent fulfilment of the requirements of Clauses 4 to 7 also fulfils at least the intent of the quality management system requirements specified in 8.2 to 8.9? |  |  |  | 8.1.3
[9 empty] | Documented information for the quality management system (Option A) |  |  |  | 8.2
[9 empty] | Does The biobank manage the documented information (internal and external) necessary for its planning and operation to comply with applicable requirements and ensure its competence in performing biobanking? To do so, Does the biobank: a) identify the information that shall be documented? b) ensure that the documented information is appropriately created and updated? c) ensure that the documented information is appropriately controlled. |  |  |  | 8.2.1
[9 empty] | Does the biobank management establish, document, and maintain policies and objectives to fulfill the purpose of this document? Does it ensure that the policies and objectives are acknowledged and implemented at all levels of the biobank? |  |  |  | 8.2.2
[9 empty] | Does The policies and objectives address the biobank's competence, impartiality and consistent operation? |  |  |  | 8.2.3
[9 empty] | Does the biobank management provide evidence of commitment to developing and implementing the quality management system and to continually improving its effectiveness? |  |  |  | 8.2.4
[9 empty] | Does all documentation, processes, systems, records, etc., related to fulfilling the requirements of this document be included in or referenced in the quality management system? |  |  |  | 8.2.5
[9 empty] | Does All personnel involved in biobanking activities have access to the parts of the quality management system documentation and related information that apply to their responsibilities? |  |  |  | 8.2.6
[9 empty] | Control of quality management system documents (Option A) |  |  |  | 8.3
[9 empty] | Does The biobank control the documents (internal or external) that relate to the fulfillment of this document? |  |  |  | 8.3.1
[9 empty] | Does The biobank ensure that: a) documents are approved for adequacy prior to issue by authorized personnel? b) documents are periodically reviewed and updated as necessary? c) the changes and the current revision status of documents are identified? d) relevant versions of applicable documents are available at points of use and where necessary their distribution is controlled? e) documents are uniquely identified? f) the unintended use of obsolete documents is prevented, and suitable identification applied to them, if they are retained for any purpose? |  |  |  | 8.3.2
[9 empty] | Control of records (Option A) |  |  |  | 8.4
[9 empty] | Does The biobank establish and maintain legible records to demonstrate the fulfillment of the requirements in this document? |  |  |  | 8.4.1
[9 empty] | Does the biobank implement the controls needed for the identification, storage, protection, back-up, archive, retrieval, retention time, and disposal of its records? Does the biobank retain records for a period consistent with its contractual and legal obligations? |  |  |  | 8.4.2
[9 empty] | Does access to these records be consistent with the confidentiality arrangements and readily available records? |  |  |  | 8.4.3
[9 empty] | Actions to address risks and opportunities (Option A) |  |  |  | 8.5
[9 empty] | Does The biobank consider the risks and opportunities associated with its biobank activities to: a) give assurance that the quality management system can achieve its intended results? b) enhance opportunities to achieve the purpose and objectives of the biobank? c) prevent or reduce undesired impacts and potential failures in biobanking, including discontinuation of operations of the biobank? d) achieve continuous improvement. |  |  |  | 8.5.1
[9 empty] | Does The biobank develop, implement, and document: a) action plan(s) to address these risks and opportunities? b) action plan(s) to safeguard biological material and associated data in the event of a disaster? c) action plan(s) to address discontinuation of operations, in particular, handling of concerned biological material and associated data? Note: This can be a legacy plan. d) approach(es) to: 1) integrate and implement these actions into its quality management system? 2) evaluate the effectiveness of these actions? 3) handle the end of business in case of the biobank's closure. |  |  |  | 8.5.2
[9 empty] | Does Actions taken to address risks and opportunities proportionate to the potential impact on and the validity of biobanking? |  |  |  | 8.5.3
[9 empty] | Improvement (Option A) |  |  |  | 8.6
[9 empty] | Does The biobank identify and select opportunities for improvement and implement any necessary actions? |  |  |  | 8.6.1
[9 empty] | Does the biobank seek feedback, both positive and negative, from its provider(s)/ recipient(s)/user(s)? Does the feedback analysed and used to improve the quality management system, biobanking, and provider/recipient/user services? |  |  |  | 8.6.2
[9 empty] | Corrective action for nonconforming output (Option A) |  |  |  | 8.7
[9 empty] | When nonconforming output according to 7.11 occurs, Does the biobank : a) react to the nonconforming output and, as applicable: 1) take action to control and correct it? 2) deal with the consequences? b) evaluate the need for action to eliminate the cause(s) of the nonconforming output, so that it Does not recur or occur elsewhere, by: 1) reviewing and analysing the nonconforming output? 2) determining the cause(s) of the nonconforming output? c) determine if similar nonconformities exist, or could potentially occur? 1) developing, implementing and documenting any corrective action needed? 2) reviewing the effectiveness of any corrective action taken? 3) updating risks and opportunities determined during planning, if necessary? 4) making changes to the quality management system, if necessary. |  |  |  | 8.7.1
[9 empty] | Does corrective actions appropriate to the effects of nonconforming output encountered? |  |  |  | 8.7.2
[9 empty] | Does The biobank retain documented information as evidence of: a) the nature of nonconforming output, cause(s) and any subsequent actions taken? b) the results and effectiveness of any corrective action. |  |  |  | 8.7.3
[9 empty] | Internal audits (Option A) |  |  |  | 8.8
[9 empty] | Does The biobank : |  |  |  | 8.8.1
[9 empty] | plan, establish, implement and maintain an audit programme including the frequency, methods, responsibilities, planning requirements and reporting, which Does take into consideration the importance of the laboratory activities concerned, changes affecting the laboratory, and the results of previous audits? |  |  |  | a)
[9 empty] | define the audit criteria and scope for each audit? |  |  |  | b)
[9 empty] | ensure that the results of the audits are reported to relevant management? |  |  |  | c)
[9 empty] | implement appropriate correction and corrective actions without undue delay? |  |  |  | d)
[9 empty] | retain records as evidence of the implementation of the audit programme and the audit results. |  |  |  | e)
[9 empty] | Does The biobank conduct internal audits at planned intervals to provide information on whether the quality management system: a) conforms to: 1) the biobank’s own requirements for its quality management system? 2) the requirements of this document? b) is effectively implemented and maintained. |  |  |  | 8.8.2
[9 empty] | Quality management reviews (Option A) |  |  |  | 8.9
[9 empty] | Does the laboratory management review its management system at planned intervals, in order to ensure its continuing suitability, adequacy and effectiveness, including the stated policies and objectives related to the fulfilment of ISO/IEC 20387? |  |  |  | 8.9.1
[9 empty] | Does the inputs to management review recorded? and Does include information related to the following: |  |  |  | 8.9.2
[9 empty] | changes in internal and external issues that are relevant to the biobank? |  |  |  | a)
[9 empty] | fulfilment of objectives? |  |  |  | b)
[9 empty] | suitability of policies and procedures? |  |  |  | c)
[9 empty] | status of actions from previous management reviews? |  |  |  | d)
[9 empty] | outcome of recent internal audits? |  |  |  | e)
[9 empty] | corrective actions? |  |  |  | f)
[9 empty] | assessments by external bodies? |  |  |  | g
[9 empty] | changes in the volume and type of work or in the range of the biobank's activities? |  |  |  | h
[9 empty] | provider/recipient/user feedback? |  |  |  | i)
[9 empty] | complaints? |  |  |  | j
[9 empty] | effectiveness of any implemented improvements? |  |  |  | k
[9 empty] | adequacy of biological material and associated data? |  |  |  | l
[9 empty] | results of risk identification? |  |  |  | m
[9 empty] | outcomes of the quality control? |  |  |  | n
[9 empty] | other relevant factors, such as monitoring activities and training? 8.9.3 The outputs from the management review shall record decisions a |  |  |  | o
[9 empty] | The outputs from the management review Does record all decisions and actions related to at least: |  |  |  | 8.9.3
[9 empty] | the effectiveness of the quality management system and its processes? |  |  |  | a)
[9 empty] | improvement of the activities related to the fulfilment of the requirements of this document? |  |  |  | b)
[9 empty] | provision of required biological material and associated data? |  |  |  | c)
[9 empty] | any need for change? |  |  |  | d)

## 2- المجال للاعتماد-البنوك الحيو
Please fill in thescope required to be approved according to the scope entered in the system, adding those authorized to conduct the test:
Note that if the scope entered in this document differs from the scope entered in the electronic system; The scope entered into the electronic system is the considered
No. | Category | Subcategory | Activities | Storage Conditions | Internal/External Methods | Authrized Personnel/Test | Assessor Comments | Assessor Name